|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Change Control Form** | | | | | | | | | | | | | **BRIsat** | | |
| **Device Name** | | PSC-CO-EM | | | **Request Number** | | |  | | | **Submission Date** | | | | 06/05/2019 |
| **Change Initiator** | | | | | | | | | | | | | | | |
| **Request Originator** | | Andry Kurniawan | | | | | | | **Job Title** | | Jr. Network Engineer | | | | |
| **Phone Number** | | 085695045745 | | | | | | | **Email** | | Andry.kurniawan@corp.bri.co.id | | | | |
| **Change Details** (put an X mark on one or more applicable choice) | | | | | | | | | | | | | | | |
| **Priority** | | [ ] Emergency | | | | | [ ] Urgent | | | | | [ X ] Routine | | | |
| **Configuration Item** | | [ ] Bus  [ ] Payload  [ ] Flight Dynamic | | | | | [ X ] Network  [ ] Ground Hardware  [ ] Ground Software | | | | | | | | |
| [ X ] Other : Modify BGP Parameter | | | | | | | | | | | | | |
| **Change Type** | | [X ] Configuration  [X ] Design | | | | | [ ] Equipment Swap  [ ] Updates / Patches | | | | | | | | |
| [ ] Other : .................................................. | | | | | | | | | | | | | |
| **Reason** | | [ ] Performance  [ X ] Enhancement | | | | | [ ] Anomaly / Malfunction  [ ] Maintenance | | | | | [ ] Regulatory  [ ] Customer Request | | | |
| [ ] Testing | | | | | [ X ] Other : Modify BGP parameter for MPLS connection | | | | | | | | |
| **Effective Date and Time** | | **Start** | | 08-05-2019 22:00 WIB | | | | | | | | | | | |
| **End** | | [ X ] Indefinitely  [ ] Specific Time: | | | | | | | | | | | |
| **Attachment Included** | | [ X ] Yes | | | | | | | | | | [ ] No | | | |
| **Change Description :**   * melakukan modifikasi parameter BGP MPLS lintas   **Activities :**   * **Kegiatan dilakukan di PSCF** * **melakukan remote configuration ke PSC-CO-EM1 dan PSC-CO-EM2** * **konfigurasi route-map dan BGP pada PSC-CO-EM1 dan PSC-CO-EM2**   **Downtime\Others possible Impact :**   * Kegiatan tidak akan berdampak pada downtime saat kondisi normal   **Expected Result :**   * Setelah kegiatan ini, mpls Lintas akan dapat diintegrasikan tanpa tunnel ke DC | | | | | | | | | | | | | | | |
| **Approval Notes** (filled by Approver) **:** | | | | | | | | | | | | | | | |
| **Change Approval** | | | | | | | | | | | | | | | |
| **Prepared by**  Name : Andry Kurniawan  Job Title: JNE | **Checked by**  Name :  Job Title: RE | | **Checked by**  Name : Nugroho Pancayogo  Job Title : Kabag CAN | | | **Checked by**  Name : Satria Permana  Job Title : Kabag GRJ | | | | **Checked by**  Name : Sigit Darmawan  Job Title : Kabag QA | | | | **Approved by**  Name : Irwan Rosadi  Job Title :Pj. Wakadiv | |
| Date: |  | | Date: | | | Date: | | | | Date: | | | | Date: | |
| **Executed**  Name :  Job Title : |  | |  | | |  | | | |  | | | |  | |
| Date: |  | |  | | |  | | | |  | | | |  | |
| **Execution Notes** (filled by Executor) **:** | | | | | | | | | | | | | | | |